## Slide 1
Repeated gravity measurements across the Rhenish massif
Michel Van Camp
Klaus-G. Hinzen, T. Camelbeeck, C. Fleischer, S. Castelein, B. Frederick, C. Caudron

## Slide 2
The Membach station
Absolute gravimeter: 1/month since 1996
Superconducting gravimeter:
Continuously since 1995
g
140 m long tunnel

## Slide 3: Gravity time series 2004-2012
Observed signal
Modeled tide
After correcting for Earth tide
X10 
1000 nm/s²
or 10-7 g
1 yr

## Slide 4: Gravity time series 2004-2012
Atmospheric pressure
After correcting for tide and pressure
100 nm/s²
or 10-8 g
X2.5 
Soupehe.com
Newtonian :
-4 nm/s²/hPa
Loading : +1 nm/s²/hPa
1 yr

## Slide 5: Gravity time series 2004-2012
Observed signal
-tide
-pressure
After correcting for tide, pressure, pole
40 nm/s² or 4 10-9 g
0.1 arcsec = 3 m
From Chen et al., GRL 2013
Polar motion
1 yr

## Slide 6
Hydrological effects on g
4 nm/s²
or 4 10-10 g
We work at a few 10-11 g level
4 nm/s²

4 10-10 g
9 days
4 10-9 g
X 10
Seasonal variations !
( g lower during winter because more water is above the gravimeter )
1 yr

## Slide 7
Repeated gravity measurements
since 1996
Possible land vertical movements:
between 0 and +1 mm/yr (+/- 0.5 mm @2s )
Schalkenmehren
Burg Eltz

## Slide 8
AG measurements in Eifel
Burg Eltz
Schalkenmehren
Kruft (Bahnerhof)
Hensch et al., 2019
Notes: steamdriven=: hydrothermal or phreatic

## Slide 9
Why measuring gravity rates of change?
 upper limit on elusive vertical land motion in slowly deforming, intraplate areas (Van Camp et al., JGR 2011)

## Slide 10
Paleoseismology,
Geology,
Seismicity
 Total Moment~1-2 1016 N.m/yr
350 km of active faults, max. 0.1 mm/yr during
late Pleistocene (<130 000 year)
Very difficult to measure
(hopeless?)
Vanneste et al., BSSA 2013
Deformation rate and seismicity
(Lower Rhine Embayment)
Coseismic displacement
~ 80 cm Mw ~ 6.5
30 m
within 300,000 yr

## Slide 11
Sea rises… or land moves down?
Uplift or subsidence?
??
?
?
Very important for mean sea level assessment at the coast
Ostend [BE] or low-lying countries : Saint-Amand-les-Eaux [FR]

## Slide 12
Repeated AG measurements:
0 to -2 [±1 nm/s² (2 )]
 0 to1 mm/yr (>15 years)
6 years
Notes: Sohier: one in 09/2003 and one in 09/2010?!?!

## Slide 13
Volcanology
How magma and associated fluids decouple, move through the crust?
Where are the magma bodies?
Storage at shallow depth?
Huge variety of possible eruption types and signature!
Role of water
Gravity monitors shallow and deep processes before other precursors
Sparks & Cashman, Elements, 2017
Notes: steamdriven=: hydrothermal or phreatic

## Slide 14
Volcanology: Dh vs. Dg
Allows interpret change in g with expansion, deflation
Discriminating between movements of magma, water or gas; how they decouple
Intrusion of magma without deformation
Monitoring aquifers  “wet” volcanoes and stream-driven eruptions
Local hydrogeological effects
FAG: Free Air : ~-3 nm/s²/mm
BCFAG: Bouguer: ~-2 nm/s²/mm
Modified from Williams-Jones & Rymer (2002)
Notes: steamdriven=: hydrothermal or phreatic

## Slide 15
Volcanology: Dh vs. Dg
Mass and volume increase: density decrease 
Buildup of gas pressure  precursor
Mass decreases, density increases:
Subsidence caused by migration of water out of the aquifers
Subsidence with anomalously large increase in g: gas losses, magma intrusion, rise in water table
Notes: steamdriven=: hydrothermal or phreatic
Gravity decrease, with subsidence: due to formation of void (Miyakejima volc)