## Slide 1: PhD Project : Long-term evolution of large-scale magnetic structures on USET images
Grégory VANDEN BROECK
ROB Supervisors
Frédéric CLETTE Sabrina BECHET
ULiège Supervisor
Gregor RAUW
ROYAL OBSERVATORY
OF BELGIUM

## Slide 2: 1. Introduction
http://sidc.oma.be/uset/searchForm.php
Sunspots groups
Bright plages
Aim : - Better understand the evolution of solar magnetic structures
Sunspots :
Dark and cool features (4000K)
Plages :
Bright and extended structures (higher temperature and density)

## Slide 3: 1. Introduction
Aim : - Better understand the evolution of solar magnetic structures - Compare solar magnetic activity with sun-like stars magnetic activity
Plages area
Integrated spectrum
???
https://www.nasa.gov/image-feature/goddard/2019/hubble-spots-flock-of-cosmic-ducks

## Slide 4: 1. Introduction
http://www.sidc.be/uset/usetpres.php
Aim : - Better understand the evolution of solar magnetic structures - Compare solar magnetic activity with sun-like stars magnetic activity
How ? Exploitation of images taken on-site with USET (« Uccle Solar Equatorial Table »)

## Slide 5: 1. Introduction
Chromosphere ( II K)
Aim : - Better understand the evolution of solar magnetic structures - Compare solar magnetic activity with sun-like stars magnetic activity
How ? Exploitation of images taken on-site with USET (« Uccle Solar Equatorial Table »)
Ca II K line : 3933.7 Å
Filter bandpass : 2.7 Å
Pagano, I. (2013). Stellar Activity. In: Oswalt, T.D., Barstow, M.A. (eds) Planets, Stars and Stellar Systems. Springer, Dordrecht. https://doi.org/10.1007/978-94-007-5615-1_10

## Slide 6: 2. Plage segmentation
1) Dataset sorting
USET Ca II K database : 21.000 images since July 2012 Aim : 1 image per day

## Slide 7: 2. Plage segmentation
1) Dataset sorting
USET Ca II K database : 21.000 images since July 2012 Aim : 1 image per day
How ? Removing bad quality images

## Slide 8: 2. Plage segmentation
1) Dataset sorting
USET Ca II K database : 21.000 images since July 2012 Aim : 1 image per day
How ? Removing bad quality images
Cropped image
Missing information

## Slide 9: 2. Plage segmentation
1) Dataset sorting
USET Ca II K database : 21.000 images since July 2012 Aim : 1 image per day
How ? Removing bad quality images
Cropped image
Missing information
Clouds
Hidden information

## Slide 10: 2. Plage segmentation
1) Dataset sorting
USET Ca II K database : 21.000 images since July 2012 Aim : 1 image per day
How ? Removing bad quality images
Cropped image
Clouds
Missing information
Hidden information
Diffusion
Information not very well resolved

## Slide 11: 2. Plage segmentation
1) Dataset sorting
USET Ca II K database : 21.000 images since July 2012 Aim : 1 image per day
How ? Removing bad quality images
Cropped image
Clouds
Diffusion
Final dataset : 2217 images
Missing information
Hidden information
Information not very well resolved

## Slide 12: 2. Plage segmentation
2) Limb darkening correction
Brighter at the center
Darker at the limb
Center-to-Limb
Variation

## Slide 13: 2. Plage segmentation
2) Limb darkening correction
Fit the intensity profile
Create a mask based on the fit
Divide the matrix by the mask
Remove the active regions
Repeat the steps 1, 2, 3
Method :

## Slide 14: 2. Plage segmentation
2) Limb darkening correction

## Slide 15: 2. Plage segmentation
2) Limb darkening correction
AFTER CLV
CORRECTION

## Slide 16: 2. Plage segmentation
3) Segmentation method
● Assuming a Gaussian background brightness distribution
● Assuming a non-Gaussion contribution to the wings (sunspots and plages)
● Some computations with the mean intensity and the standard deviation
where is an arbitrary multiplicative factor

## Slide 17: 2. Plage segmentation
3) Segmentation method

## Slide 18: 2. Plage segmentation
4) Uncertainty calculations
How ? Using the full dataset of 21.000 images in the USET database

## Slide 19: 2. Plage segmentation
4) Uncertainty calculations
How ? Using the full dataset of 21.000 images in the USET database
Compute the area fraction for each image
Compute the standard deviation for each day
Remove the outliers
Assume a 1D relationship between plages area and standard deviation
Fit the data and get the equation

## Slide 20: 2. Plage segmentation
How ? Using the full dataset of 21.000 images in the USET database
Compute the area fraction for each image
Compute the standard deviation for each day
Remove the outliers
Assume a 1D relationship between plages area and standard deviation
Fit the data and get the equation
4) Uncertainty calculations

## Slide 21: 2. Plage segmentation
How ? Using the full dataset of 21.000 images in the USET database
Compute the area fraction for each image
Compute the standard deviation for each day
Remove the outliers
Assume a 1D relationship between plages area and standard deviation
Fit the data and get the equation
4) Uncertainty calculations

## Slide 22: 2. Plage segmentation
Area fraction
How ? Using the full dataset of 21.000 images in the USET database
Compute the area fraction for each image
Compute the standard deviation for each day
Remove the outliers
Assume a 1D relationship between plages area and standard deviation
Fit the data and get the equation
4) Uncertainty calculations

## Slide 23: 2. Plage segmentation
Area fraction
How ? Using the full dataset of 21.000 images in the USET database
Compute the area fraction for each image
Compute the standard deviation for each day
Remove the outliers
Assume a 1D relationship between plages area and standard deviation
Fit the data and get the equation
4) Uncertainty calculations

## Slide 24: 2. Plage segmentation
Area fraction
How ? Using the full dataset of 21.000 images in the USET database
Compute the area fraction for each image
Compute the standard deviation for each day
Remove the outliers
Assume a 1D relationship between plages area and standard deviation
Fit the data and get the equation
Error proportional to the area
4) Uncertainty calculations

## Slide 25: 2. Plage segmentation
4) Uncertainty calculations

## Slide 26: 3. Data serie validation
How ? Comparison with Theodosios Chatzistergos results on USET dataset (Chatzistergos et al. 2020)
Chatzistergos, T., Ermolli, I., Krivova, N.A., et al. (2020). Analysis of full-disc Ca II K spectroheliograms. III. Plage area composite series covering 1892-2019, A&A, 639, A88, DOI 10.1051/0004- 6361/202037746

## Slide 27: 3. Data serie validation
How ? Comparison with Theodosios Chatzistergos results on USET dataset (Chatzistergos et al. 2020)
Chatzistergos, T., Ermolli, I., Krivova, N.A., et al. (2020). Analysis of full-disc Ca II K spectroheliograms. III. Plage area composite series covering 1892-2019, A&A, 639, A88, DOI 10.1051/0004- 6361/202037746
Dataset problem

## Slide 28: 3. Data serie validation
How ? Comparison with Theodosios Chatzistergos results on USET dataset (Chatzistergos et al. 2020)
Chatzistergos, T., Ermolli, I., Krivova, N.A., et al. (2020). Analysis of full-disc Ca II K spectroheliograms. III. Plage area composite series covering 1892-2019, A&A, 639, A88, DOI 10.1051/0004- 6361/202037746
Problem :
On July 10, 2013 : Installation of a neutral density filter on the Ca II K telescope
Dataset problem

## Slide 29: 3. Data serie validation
Problem :
On July 10, 2013 : Installation of a neutral density filter on the Ca II K telescope
Exposure time increased by a factor of 10
Dataset problem

## Slide 30: 3. Data serie validation
How ? Comparison with Theodosios Chatzistergos results on USET dataset (Chatzistergos et al. 2020)
Chatzistergos, T., Ermolli, I., Krivova, N.A., et al. (2020). Analysis of full-disc Ca II K spectroheliograms. III. Plage area composite series covering 1892-2019, A&A, 639, A88, DOI 10.1051/0004- 6361/202037746

## Slide 31: 4. TIGRE S-Index
• TIGRE : Telescopio Internacional de Guanajuato Robótico Espectroscópico
• Location : Guanajuato, Mexico
• Activities : - Observing solar spectrum reflected by the Moon (since 08/2013)
- Observing solar-type stars spectrum
• TIGRE data : S-Index based on the flux in the Ca II H & K lines
A. Hempelmann, M. Mittag, J. N. Gonzalez-Perez, J. H. M. M. Schmitt, K. P. Schröder, G. Rauw, Measuring rotation periods of solar-like stars using TIGRE - A study of periodic CaII H+K S-index variability, A&A 586 A14 (2016)
is a calibration constant

## Slide 32: 4. TIGRE S-Index
Solar S-Index
• Following the solar cycle (maximum in 2014-2015 and minimum in 2019-2020)
• Some technical issues that limited or hindered its functionalities (e.g. 2016-2017)

## Slide 33
TIGRE S-Index
USET Ca II K plages
5. USET vs TIGRE
???

## Slide 34: 5. USET vs TIGRE
• Correlation coefficient > 0.92 Strong linear relationship between both variables
• Preliminary results to understand the relation between Ca II K plages and S-Index

## Slide 35: 6. Synoptic map
Aim : - Observe the distribution of the magnetic structures during a complete solar rotation
- Reconstruct solar images for different angles of view

## Slide 36: 6. Synoptic map
Aim : - Observe the distribution of the magnetic structures during a complete solar rotation
- Reconstruct solar images for different angles of view

## Slide 37: 6. Synoptic map
Aim : - Observe the distribution of the magnetic structures during a complete solar rotation
- Reconstruct solar images for different angles of view

## Slide 38: 6. Synoptic map
Aim : - Observe the distribution of the magnetic structures during a complete solar rotation
- Reconstruct solar images for different angles of view

## Slide 39: 6. Synoptic map
Aim : - Observe the distribution of the magnetic structures during a complete solar rotation
- Reconstruct solar images for different angles of view

## Slide 40: 6. Synoptic map
Aim : - Observe the distribution of the magnetic structures during a complete solar rotation
- Reconstruct solar images for different angles of view

## Slide 41: 6. Synoptic map

## Slide 42: 7. Next steps
Computing Ca II K plages area for different inclinations
Getting S-Index for multiple solar-type stars
Comparing Ca II K plages with stellar S-Index to study the inclination angle of other stars
Study the possible other cycles during the solar cycle (solar rotation and other ?)

## Slide 43: Plage segmentation
Segmentation method
1. Compute the mean intensity and the standard deviation over the disk
2. Identify pixels with intensity within (for in the range )
3. Recalculate mean intensity and standard deviation for those intervals
4. The minimum of the calculated mean intensity best represents the QS regions
5. Intensity threshold to identify the plages is :
where is an arbitrary multiplicative factor

## Slide 44: TIGRE technical issues
• Issues with time losses from hours to days : internet cuts and power failures
• Issues with time losses from days to months : hardware failures, power supply